## EVF_Wärmepumpe_EP1
9907645000000 | [BDEW-Codenummer/ILN]
EP1 | [Bezeichnung der Profilschar]
17 | [Bezugstemperatur für TMZ in °C]
1 | [Begrenzungskonstante]
2014-01-01 | [Profilschar gültig ab]
1 | [Einheit (1=K/h, 2=kW, 3=kWh)]
Zeit | Intervall | 1 [TMZ in K] | 2 [TMZ in K] | 3 [TMZ in K] | 4 [TMZ in K] | 5 [TMZ in K] | 6 [TMZ in K] | 7 [TMZ in K] | 8 [TMZ in K] | 9 [TMZ in K] | 10 [TMZ in K] | 11 [TMZ in K] | 12 [TMZ in K] | 13 [TMZ in K] | 14 [TMZ in K] | 15 [TMZ in K] | 16 [TMZ in K] | 17 [TMZ in K] | 18 [TMZ in K] | 19 [TMZ in K] | 20 [TMZ in K] | 21 [TMZ in K] | 22 [TMZ in K] | 23 [TMZ in K] | 24 [TMZ in K] | 25 [TMZ in K] | 26 [TMZ in K] | 27 [TMZ in K] | 28 [TMZ in K] | 29 [TMZ in K] | 30 [TMZ in K] | 31 [TMZ in K] | 32 [TMZ in K] | 33 [TMZ in K]
0:15 | 00:00 - 00:15 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
0:30 | 00:15 - 00:30 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
0:45 | 00:30 - 00:45 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
1:00 | 00:45 - 01:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
1:15 | 01:00 - 01:15 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
1:30 | 01:15 - 01:30 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
1:45 | 01:30 - 01:45 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
2:00 | 01:45 - 02:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
2:15 | 02:00 - 02:15 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
2:30 | 02:15 - 02:30 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
2:45 | 02:30 - 02:45 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
3:00 | 02:45 - 03:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
3:15 | 03:00 - 03:15 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
3:30 | 03:15 - 03:30 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
3:45 | 03:30 - 03:45 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
4:00 | 03:45 - 04:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
4:15 | 04:00 - 04:15 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
4:30 | 04:15 - 04:30 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
4:45 | 04:30 - 04:45 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
5:00 | 04:45 - 05:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
5:15 | 05:00 - 05:15 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
5:30 | 05:15 - 05:30 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
5:45 | 05:30 - 05:45 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
6:00 | 05:45 - 06:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
6:15 | 06:00 - 06:15 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
6:30 | 06:15 - 06:30 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
6:45 | 06:30 - 06:45 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
7:00 | 06:45 - 07:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
7:15 | 07:00 - 07:15 | 0.004501 | 0.009002 | 0.01356 | 0.018155 | 0.022788 | 0.02746 | 0.032168 | 0.036915 | 0.041699 | 0.046522 | 0.051382 | 0.056279 | 0.061215 | 0.066188 | 0.071199 | 0.076248 | 0.081335 | 0.08646 | 0.091622 | 0.096822 | 0.10206 | 0.10734 | 0.11265 | 0.118 | 0.12339 | 0.12882 | 0.13428 | 0.13978 | 0.14533 | 0.1509 | 0.15652 | 0.16217 | 0.16724
7:30 | 07:15 - 07:30 | 0.003285 | 0.00657 | 0.009897 | 0.013254 | 0.016639 | 0.020052 | 0.023495 | 0.026965 | 0.030465 | 0.033993 | 0.03755 | 0.041135 | 0.044749 | 0.048392 | 0.052063 | 0.055763 | 0.059491 | 0.063248 | 0.067034 | 0.070848 | 0.074691 | 0.078563 | 0.082463 | 0.086392 | 0.090349 | 0.094336 | 0.09835 | 0.10239 | 0.10647 | 0.11057 | 0.1147 | 0.11885 | 0.12257
7:45 | 07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8:00 | 07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8:15 | 08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8:30 | 08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8:45 | 08:30 - 08:45 | 0.091344 | 0.18269 | 0.2697 | 0.35381 | 0.43504 | 0.51338 | 0.58883 | 0.66138 | 0.73105 | 0.79783 | 0.86171 | 0.9227 | 0.9808 | 1.036 | 1.0883 | 1.1378 | 1.1843 | 1.2279 | 1.2687 | 1.3066 | 1.3415 | 1.3736 | 1.4028 | 1.4291 | 1.4525 | 1.473 | 1.4906 | 1.5053 | 1.5171 | 1.5261 | 1.5321 | 1.5353 | 1.5832
9:00 | 08:45 - 09:00 | 0.09271 | 0.18542 | 0.2738 | 0.35928 | 0.44188 | 0.52158 | 0.5984 | 0.67232 | 0.74336 | 0.8115 | 0.87675 | 0.93912 | 0.99859 | 1.0552 | 1.1089 | 1.1597 | 1.2076 | 1.2526 | 1.2947 | 1.3339 | 1.3703 | 1.4037 | 1.4343 | 1.4619 | 1.4867 | 1.5086 | 1.5276 | 1.5437 | 1.5569 | 1.5672 | 1.5746 | 1.5791 | 1.6285
9:15 | 09:00 - 09:15 | 0.090402 | 0.1808 | 0.26741 | 0.35149 | 0.43304 | 0.51205 | 0.58854 | 0.6625 | 0.73392 | 0.80282 | 0.86918 | 0.93302 | 0.99432 | 1.0531 | 1.1093 | 1.163 | 1.2142 | 1.2629 | 1.309 | 1.3526 | 1.3936 | 1.4321 | 1.4681 | 1.5016 | 1.5325 | 1.5609 | 1.5868 | 1.6101 | 1.6309 | 1.6491 | 1.6649 | 1.6781 | 1.7305
9:30 | 09:15 - 09:30 | 0.078132 | 0.15626 | 0.23169 | 0.30532 | 0.37714 | 0.44716 | 0.51537 | 0.58178 | 0.64639 | 0.70919 | 0.77019 | 0.82939 | 0.88678 | 0.94237 | 0.99616 | 1.0481 | 1.0983 | 1.1467 | 1.1933 | 1.238 | 1.281 | 1.3221 | 1.3615 | 1.399 | 1.4348 | 1.4687 | 1.5008 | 1.5312 | 1.5597 | 1.5864 | 1.6113 | 1.6344 | 1.6855
9:45 | 09:30 - 09:45 | 0.06497 | 0.12994 | 0.19337 | 0.25578 | 0.31717 | 0.37754 | 0.43688 | 0.49519 | 0.55249 | 0.60876 | 0.664 | 0.71823 | 0.77142 | 0.8236 | 0.87475 | 0.92488 | 0.97398 | 1.0221 | 1.0691 | 1.1151 | 1.1601 | 1.2041 | 1.2471 | 1.289 | 1.3299 | 1.3698 | 1.4087 | 1.4465 | 1.4833 | 1.5191 | 1.5539 | 1.5876 | 1.6372
10:00 | 09:45 - 10:00 | 0.05174 | 0.10348 | 0.15486 | 0.206 | 0.2569 | 0.30756 | 0.35798 | 0.40817 | 0.45811 | 0.50781 | 0.55727 | 0.6065 | 0.65548 | 0.70422 | 0.75272 | 0.80098 | 0.84901 | 0.89679 | 0.94433 | 0.99164 | 1.0387 | 1.0855 | 1.1321 | 1.1784 | 1.2246 | 1.2704 | 1.316 | 1.3614 | 1.4066 | 1.4515 | 1.4961 | 1.5406 | 1.5887
10:15 | 10:00 - 10:15 | 0.044028 | 0.088056 | 0.13241 | 0.17698 | 0.22177 | 0.26677 | 0.31199 | 0.35743 | 0.40309 | 0.44896 | 0.49505 | 0.54136 | 0.58788 | 0.63462 | 0.68158 | 0.72876 | 0.77615 | 0.82376 | 0.87159 | 0.91964 | 0.9679 | 1.0164 | 1.0651 | 1.114 | 1.1631 | 1.2125 | 1.262 | 1.3118 | 1.3618 | 1.412 | 1.4625 | 1.5131 | 1.5604
10:30 | 10:15 - 10:30 | 0.042671 | 0.085343 | 0.12846 | 0.17188 | 0.21559 | 0.2596 | 0.3039 | 0.34851 | 0.39341 | 0.43861 | 0.48411 | 0.5299 | 0.57599 | 0.62238 | 0.66907 | 0.71606 | 0.76334 | 0.81092 | 0.8588 | 0.90697 | 0.95544 | 1.0042 | 1.0533 | 1.1026 | 1.1523 | 1.2023 | 1.2525 | 1.3031 | 1.3539 | 1.4051 | 1.4565 | 1.5083 | 1.5554
10:45 | 10:30 - 10:45 | 0.039818 | 0.079637 | 0.11991 | 0.16049 | 0.20137 | 0.24256 | 0.28405 | 0.32584 | 0.36794 | 0.41035 | 0.45305 | 0.49606 | 0.53938 | 0.583 | 0.62692 | 0.67115 | 0.71568 | 0.76052 | 0.80566 | 0.8511 | 0.89685 | 0.9429 | 0.98926 | 1.0359 | 1.0829 | 1.1302 | 1.1777 | 1.2256 | 1.2738 | 1.3223 | 1.3711 | 1.4202 | 1.4645
11:00 | 10:45 - 11:00 | 0.038602 | 0.077204 | 0.11625 | 0.15559 | 0.19522 | 0.23515 | 0.27537 | 0.31589 | 0.35671 | 0.39782 | 0.43922 | 0.48092 | 0.52291 | 0.5652 | 0.60778 | 0.65066 | 0.69383 | 0.7373 | 0.78107 | 0.82512 | 0.86948 | 0.91413 | 0.95907 | 1.0043 | 1.0498 | 1.0957 | 1.1418 | 1.1882 | 1.2349 | 1.2819 | 1.3292 | 1.3768 | 1.4199
11:15 | 11:00 - 11:15 | 0.03775 | 0.0755 | 0.11368 | 0.15214 | 0.19088 | 0.22991 | 0.26923 | 0.30883 | 0.34871 | 0.38888 | 0.42933 | 0.47007 | 0.51109 | 0.5524 | 0.59399 | 0.63587 | 0.67803 | 0.72048 | 0.76321 | 0.80622 | 0.84952 | 0.89311 | 0.93698 | 0.98113 | 1.0256 | 1.0703 | 1.1153 | 1.1606 | 1.2062 | 1.252 | 1.2982 | 1.3446 | 1.3866
11:30 | 11:15 - 11:30 | 0.03775 | 0.0755 | 0.11368 | 0.15214 | 0.19088 | 0.22991 | 0.26923 | 0.30883 | 0.34871 | 0.38888 | 0.42933 | 0.47007 | 0.51109 | 0.5524 | 0.59399 | 0.63587 | 0.67803 | 0.72048 | 0.76321 | 0.80622 | 0.84952 | 0.89311 | 0.93698 | 0.98113 | 1.0256 | 1.0703 | 1.1153 | 1.1606 | 1.2062 | 1.252 | 1.2982 | 1.3446 | 1.3866
11:45 | 11:30 - 11:45 | 0.03775 | 0.0755 | 0.11368 | 0.15214 | 0.19088 | 0.22991 | 0.26923 | 0.30883 | 0.34871 | 0.38888 | 0.42933 | 0.47007 | 0.51109 | 0.5524 | 0.59399 | 0.63587 | 0.67803 | 0.72048 | 0.76321 | 0.80622 | 0.84952 | 0.89311 | 0.93698 | 0.98113 | 1.0256 | 1.0703 | 1.1153 | 1.1606 | 1.2062 | 1.252 | 1.2982 | 1.3446 | 1.3866
12:00 | 11:45 - 12:00 | 0.03775 | 0.0755 | 0.11368 | 0.15214 | 0.19088 | 0.22991 | 0.26923 | 0.30883 | 0.34871 | 0.38888 | 0.42933 | 0.47007 | 0.51109 | 0.5524 | 0.59399 | 0.63587 | 0.67803 | 0.72048 | 0.76321 | 0.80622 | 0.84952 | 0.89311 | 0.93698 | 0.98113 | 1.0256 | 1.0703 | 1.1153 | 1.1606 | 1.2062 | 1.252 | 1.2982 | 1.3446 | 1.3866
12:15 | 12:00 - 12:15 | 0.045688 | 0.091375 | 0.13712 | 0.1829 | 0.22872 | 0.27458 | 0.32047 | 0.3664 | 0.41237 | 0.45838 | 0.50442 | 0.55051 | 0.59662 | 0.64278 | 0.68898 | 0.73521 | 0.78148 | 0.82778 | 0.87413 | 0.92051 | 0.96693 | 1.0134 | 1.0599 | 1.1064 | 1.153 | 1.1996 | 1.2462 | 1.2929 | 1.3396 | 1.3864 | 1.4332 | 1.48 | 1.5263
12:30 | 12:15 - 12:30 | 0.048412 | 0.096823 | 0.14517 | 0.19348 | 0.24174 | 0.28996 | 0.33814 | 0.38627 | 0.43436 | 0.48241 | 0.53042 | 0.57838 | 0.6263 | 0.67418 | 0.72202 | 0.76981 | 0.81756 | 0.86527 | 0.91294 | 0.96056 | 1.0081 | 1.0557 | 1.1032 | 1.1506 | 1.198 | 1.2454 | 1.2927 | 1.34 | 1.3873 | 1.4344 | 1.4816 | 1.5287 | 1.5765
12:45 | 12:30 - 12:45 | 0.047269 | 0.094538 | 0.14184 | 0.18918 | 0.23653 | 0.28391 | 0.33132 | 0.37875 | 0.42621 | 0.47369 | 0.5212 | 0.56873 | 0.61629 | 0.66387 | 0.71148 | 0.75911 | 0.80677 | 0.85445 | 0.90216 | 0.94989 | 0.99765 | 1.0454 | 1.0932 | 1.1411 | 1.1889 | 1.2368 | 1.2847 | 1.3327 | 1.3806 | 1.4286 | 1.4766 | 1.5246 | 1.5723
13:00 | 12:45 - 13:00 | 0.045726 | 0.091453 | 0.13735 | 0.18337 | 0.2295 | 0.27575 | 0.32212 | 0.36861 | 0.4152 | 0.46192 | 0.50875 | 0.5557 | 0.60277 | 0.64995 | 0.69725 | 0.74467 | 0.7922 | 0.83985 | 0.88761 | 0.93549 | 0.98349 | 1.0316 | 1.0798 | 1.1282 | 1.1766 | 1.2252 | 1.2739 | 1.3227 | 1.3717 | 1.4207 | 1.4699 | 1.5192 | 1.5666
13:15 | 13:00 - 13:15 | 0.044384 | 0.088767 | 0.13345 | 0.17832 | 0.22339 | 0.26865 | 0.31412 | 0.35977 | 0.40563 | 0.45168 | 0.49792 | 0.54436 | 0.591 | 0.63784 | 0.68487 | 0.73209 | 0.77951 | 0.82713 | 0.87495 | 0.92296 | 0.97116 | 1.0196 | 1.0682 | 1.117 | 1.166 | 1.2151 | 1.2645 | 1.3141 | 1.3639 | 1.4139 | 1.464 | 1.5144 | 1.5617
13:30 | 13:15 - 13:30 | 0.043241 | 0.086482 | 0.13012 | 0.17402 | 0.21818 | 0.26261 | 0.3073 | 0.35226 | 0.39748 | 0.44296 | 0.48871 | 0.53472 | 0.58099 | 0.62753 | 0.67433 | 0.72139 | 0.76872 | 0.81632 | 0.86417 | 0.91229 | 0.96068 | 1.0093 | 1.0582 | 1.1074 | 1.1569 | 1.2066 | 1.2565 | 1.3068 | 1.3573 | 1.408 | 1.459 | 1.5103 | 1.5575
13:45 | 13:30 - 13:45 | 0.042327 | 0.084654 | 0.12746 | 0.17058 | 0.21402 | 0.25778 | 0.30185 | 0.34624 | 0.39095 | 0.43598 | 0.48133 | 0.52699 | 0.57298 | 0.61928 | 0.6659 | 0.71283 | 0.76009 | 0.80766 | 0.85555 | 0.90376 | 0.95229 | 1.0011 | 1.0503 | 1.0998 | 1.1496 | 1.1997 | 1.2501 | 1.3009 | 1.3519 | 1.4033 | 1.455 | 1.5071 | 1.5542
14:00 | 13:45 - 14:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
14:15 | 14:00 - 14:15 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
14:30 | 14:15 - 14:30 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
14:45 | 14:30 - 14:45 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
15:00 | 14:45 - 15:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
15:15 | 15:00 - 15:15 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
15:30 | 15:15 - 15:30 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
15:45 | 15:30 - 15:45 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
16:00 | 15:45 - 16:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
16:15 | 16:00 - 16:15 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
16:30 | 16:15 - 16:30 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
16:45 | 16:30 - 16:45 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
17:00 | 16:45 - 17:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
17:15 | 17:00 - 17:15 | 0.003649 | 0.007297 | 0.010987 | 0.014704 | 0.018449 | 0.022221 | 0.026021 | 0.029848 | 0.033703 | 0.037586 | 0.041495 | 0.045433 | 0.049398 | 0.05339 | 0.05741 | 0.061457 | 0.065532 | 0.069635 | 0.073765 | 0.077922 | 0.082107 | 0.08632 | 0.09056 | 0.094827 | 0.099123 | 0.10344 | 0.1078 | 0.11217 | 0.11658 | 0.12101 | 0.12547 | 0.12996 | 0.13402
17:30 | 17:15 - 17:30 | 0.003649 | 0.007297 | 0.010987 | 0.014704 | 0.018449 | 0.022221 | 0.026021 | 0.029848 | 0.033703 | 0.037586 | 0.041495 | 0.045433 | 0.049398 | 0.05339 | 0.05741 | 0.061457 | 0.065532 | 0.069635 | 0.073765 | 0.077922 | 0.082107 | 0.08632 | 0.09056 | 0.094827 | 0.099123 | 0.10344 | 0.1078 | 0.11217 | 0.11658 | 0.12101 | 0.12547 | 0.12996 | 0.13402
17:45 | 17:30 - 17:45 | 0.003649 | 0.007297 | 0.010987 | 0.014704 | 0.018449 | 0.022221 | 0.026021 | 0.029848 | 0.033703 | 0.037586 | 0.041495 | 0.045433 | 0.049398 | 0.05339 | 0.05741 | 0.061457 | 0.065532 | 0.069635 | 0.073765 | 0.077922 | 0.082107 | 0.08632 | 0.09056 | 0.094827 | 0.099123 | 0.10344 | 0.1078 | 0.11217 | 0.11658 | 0.12101 | 0.12547 | 0.12996 | 0.13402
18:00 | 17:45 - 18:00 | 0.003649 | 0.007297 | 0.010987 | 0.014704 | 0.018449 | 0.022221 | 0.026021 | 0.029848 | 0.033703 | 0.037586 | 0.041495 | 0.045433 | 0.049398 | 0.05339 | 0.05741 | 0.061457 | 0.065532 | 0.069635 | 0.073765 | 0.077922 | 0.082107 | 0.08632 | 0.09056 | 0.094827 | 0.099123 | 0.10344 | 0.1078 | 0.11217 | 0.11658 | 0.12101 | 0.12547 | 0.12996 | 0.13402
18:15 | 18:00 - 18:15 | 0.003649 | 0.007297 | 0.010987 | 0.014704 | 0.018449 | 0.022221 | 0.026021 | 0.029848 | 0.033703 | 0.037586 | 0.041495 | 0.045433 | 0.049398 | 0.05339 | 0.05741 | 0.061457 | 0.065532 | 0.069635 | 0.073765 | 0.077922 | 0.082107 | 0.08632 | 0.09056 | 0.094827 | 0.099123 | 0.10344 | 0.1078 | 0.11217 | 0.11658 | 0.12101 | 0.12547 | 0.12996 | 0.13402
18:30 | 18:15 - 18:30 | 0.003649 | 0.007297 | 0.010987 | 0.014704 | 0.018449 | 0.022221 | 0.026021 | 0.029848 | 0.033703 | 0.037586 | 0.041495 | 0.045433 | 0.049398 | 0.05339 | 0.05741 | 0.061457 | 0.065532 | 0.069635 | 0.073765 | 0.077922 | 0.082107 | 0.08632 | 0.09056 | 0.094827 | 0.099123 | 0.10344 | 0.1078 | 0.11217 | 0.11658 | 0.12101 | 0.12547 | 0.12996 | 0.13402
18:45 | 18:30 - 18:45 | 0.094992 | 0.18998 | 0.28068 | 0.36852 | 0.45349 | 0.5356 | 0.61485 | 0.69123 | 0.76475 | 0.83541 | 0.90321 | 0.96813 | 1.0302 | 1.0894 | 1.1457 | 1.1992 | 1.2498 | 1.2976 | 1.3425 | 1.3845 | 1.4236 | 1.4599 | 1.4933 | 1.5239 | 1.5516 | 1.5764 | 1.5984 | 1.6175 | 1.6337 | 1.6471 | 1.6576 | 1.6652 | 1.7173
19:00 | 18:45 - 19:00 | 0.093416 | 0.18683 | 0.27609 | 0.36259 | 0.44631 | 0.52726 | 0.60545 | 0.68086 | 0.75351 | 0.82338 | 0.89049 | 0.95482 | 1.0164 | 1.0752 | 1.1312 | 1.1845 | 1.2349 | 1.2827 | 1.3276 | 1.3698 | 1.4092 | 1.4458 | 1.4796 | 1.5107 | 1.539 | 1.5646 | 1.5873 | 1.6073 | 1.6246 | 1.639 | 1.6507 | 1.6596 | 1.7115
19:15 | 19:00 - 19:15 | 0.085222 | 0.17045 | 0.25233 | 0.332 | 0.40944 | 0.48466 | 0.55765 | 0.62842 | 0.69697 | 0.76329 | 0.82739 | 0.88927 | 0.94892 | 1.0064 | 1.0616 | 1.1145 | 1.1653 | 1.2138 | 1.2601 | 1.3042 | 1.3461 | 1.3857 | 1.4231 | 1.4583 | 1.4912 | 1.522 | 1.5505 | 1.5768 | 1.6008 | 1.6227 | 1.6423 | 1.6596 | 1.7115
19:30 | 19:15 - 19:30 | 0.0734 | 0.1468 | 0.21792 | 0.28751 | 0.35558 | 0.42213 | 0.48715 | 0.55065 | 0.61263 | 0.67309 | 0.73202 | 0.78943 | 0.84531 | 0.89967 | 0.95251 | 1.0038 | 1.0536 | 1.1019 | 1.1486 | 1.1938 | 1.2375 | 1.2797 | 1.3204 | 1.3595 | 1.3971 | 1.4332 | 1.4677 | 1.5007 | 1.5322 | 1.5622 | 1.5907 | 1.6176 | 1.6681
19:45 | 19:30 - 19:45 | 0.061478 | 0.12296 | 0.18321 | 0.24265 | 0.30127 | 0.35907 | 0.41606 | 0.47223 | 0.52758 | 0.58211 | 0.63583 | 0.68874 | 0.74082 | 0.79209 | 0.84254 | 0.89218 | 0.94099 | 0.98899 | 1.0362 | 1.0825 | 1.1281 | 1.1728 | 1.2167 | 1.2598 | 1.3021 | 1.3436 | 1.3842 | 1.4241 | 1.4631 | 1.5013 | 1.5386 | 1.5752 | 1.6244
20:00 | 19:45 - 20:00 | 0.049456 | 0.098912 | 0.14821 | 0.19741 | 0.2465 | 0.29548 | 0.34436 | 0.39314 | 0.44181 | 0.49038 | 0.53884 | 0.5872 | 0.63546 | 0.68361 | 0.73165 | 0.77959 | 0.82743 | 0.87516 | 0.92279 | 0.97031 | 1.0177 | 1.065 | 1.1123 | 1.1594 | 1.2064 | 1.2533 | 1.3 | 1.3467 | 1.3933 | 1.4398 | 1.4862 | 1.5324 | 1.5803
20:15 | 20:00 - 20:15 | 0.042951 | 0.085901 | 0.12927 | 0.17293 | 0.21686 | 0.26108 | 0.30557 | 0.35035 | 0.3954 | 0.44074 | 0.48636 | 0.53226 | 0.57844 | 0.62491 | 0.67165 | 0.71867 | 0.76598 | 0.81356 | 0.86143 | 0.90958 | 0.95801 | 1.0067 | 1.0557 | 1.105 | 1.1545 | 1.2044 | 1.2545 | 1.3049 | 1.3556 | 1.4065 | 1.4578 | 1.5093 | 1.5565
20:30 | 20:15 - 20:30 | 0.042751 | 0.085501 | 0.12869 | 0.17217 | 0.21595 | 0.26002 | 0.30438 | 0.34903 | 0.39398 | 0.43922 | 0.48475 | 0.53057 | 0.57669 | 0.6231 | 0.6698 | 0.7168 | 0.76409 | 0.81167 | 0.85955 | 0.90771 | 0.95617 | 1.0049 | 1.054 | 1.1033 | 1.1529 | 1.2029 | 1.2531 | 1.3036 | 1.3544 | 1.4055 | 1.4569 | 1.5086 | 1.5557
20:45 | 20:30 - 20:45 | 0.042551 | 0.085102 | 0.12811 | 0.17142 | 0.21504 | 0.25896 | 0.30318 | 0.34772 | 0.39255 | 0.43769 | 0.48313 | 0.52889 | 0.57494 | 0.6213 | 0.66796 | 0.71493 | 0.7622 | 0.80978 | 0.85766 | 0.90585 | 0.95434 | 1.0031 | 1.0522 | 1.1016 | 1.1514 | 1.2014 | 1.2517 | 1.3023 | 1.3532 | 1.4045 | 1.456 | 1.5079 | 1.555
21:00 | 20:45 - 21:00 | 0.042351 | 0.084702 | 0.12753 | 0.17067 | 0.21413 | 0.2579 | 0.30199 | 0.3464 | 0.39112 | 0.43617 | 0.48152 | 0.5272 | 0.57319 | 0.61949 | 0.66612 | 0.71305 | 0.76031 | 0.80788 | 0.85577 | 0.90398 | 0.9525 | 1.0013 | 1.0505 | 1.1 | 1.1498 | 1.1999 | 1.2503 | 1.301 | 1.3521 | 1.4035 | 1.4551 | 1.5072 | 1.5543
21:15 | 21:00 - 21:15 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
21:30 | 21:15 - 21:30 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
21:45 | 21:30 - 21:45 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
22:00 | 21:45 - 22:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
22:15 | 22:00 - 22:15 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
22:30 | 22:15 - 22:30 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
22:45 | 22:30 - 22:45 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
23:00 | 22:45 - 23:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
23:15 | 23:00 - 23:15 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
23:30 | 23:15 - 23:30 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
23:45 | 23:30 - 23:45 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539
0:00 | 23:45 - 24:00 | 0.042251 | 0.084502 | 0.12724 | 0.17029 | 0.21367 | 0.25737 | 0.3014 | 0.34574 | 0.39041 | 0.4354 | 0.48072 | 0.52635 | 0.57231 | 0.61859 | 0.66519 | 0.71212 | 0.75937 | 0.80694 | 0.85483 | 0.90305 | 0.95159 | 1.0004 | 1.0496 | 1.0991 | 1.149 | 1.1991 | 1.2496 | 1.3004 | 1.3515 | 1.4029 | 1.4547 | 1.5068 | 1.5539